Dental IR(ME)R Procedures (1)

For Dental Practices where dentists always undertake their own dental x-rays

It is intended that these procedures are to be read in conjunction with the associated document, IR(ME)R, an Explanation Guide for Dental Practices. This explanation guide contains a summary of the legislation and outlines the requirements of the Regulations.

As the use of ionising radiation within dental practices largely falls into 2 categories, so two sets of example procedures have been developed to correspond with each scenario.

- Where only dentists undertake x-rays on their own patients

- Where, as well as dentists undertaking their own x-rays, other staff groups such as dental nurses or hygienists may take x-rays

These example dental IR(ME)R procedures and their appendices are intended as a guide only, to demonstrate the variations and areas of practice which need to be considered when writing IR(ME)R procedures. Whilst attempts have been made to ensure they are comprehensive, there will always be local variations which must be taken into account. For example, some sites use x-ray film and processors to obtain x-ray images whereas other practices may have digital radiography.

Therefore, all the suggested text and examples must be carefully adapted to ensure they match local practice. Any text displayed in red will need to be carefully considered to demonstrate local ownership and practice. The most successful way to write IR(ME)R procedures is to think about what happens within the practice and start by writing down ‘what you do’. Procedures should standardise practice and ensure that all dental staff are working to the same standards.

It is important to note that, as definitive interpretation of law can only be established in the courts, the advice given here should be regarded as an expression of professional opinion rather than an absolute statement on the legal position. These procedures are intended to demonstrate one approach towards compliance which you may wish to take. It does not represent the only way to achieve this.

In addition to these Employer’s Written Procedures, the employer must also provide written protocols describing clinical practice, for example, a ‘Protocol for OPG’.

| XXXX Dental Practice Employers Procedures Written Procedures for Medical Exposures |
| --- |
| Author | Named person |
| Version No. | 1 |
| Authorised by | Signature of Employer |
| Implementation Date | 01/01/2011 |
| Reviewer | Named Person |
| Next Review Date | 01/01/2013 |

IR(ME)R Employer’s procedures

| Document No. | Title of Procedure | Page No. |
| --- | --- | --- |
| EP1 | Entitlement of Duty Holders | 4 |
| EP2 | Referrals for Dental examinations | 7 |
| EP3 | Justification and Authorisation | 8 |
| EP4 | Patient Identification | 9 |
| EP5 | Pregnancy Enquiries | 10 |
| EP6 | Assessment of Patient Dose | 11 |
| EP7 | Diagnostic Reference Levels | 12 |
| EP8 | Clinical Evaluation | 14 |
| EP9 | Training and Education | 15 |
| EP10 | Incident Reporting | 16 |
| EP11 | Reducing the Probability and Magnitude of unintentional exposures | 18 |
| EP12 | Document Quality assurance | 19 |
| EP13 | Audit | 21 |
| EP14 | Research Exposures | 22 |
| EP15 | Medico- Legal and Occupational Exposures | 23 |

| EP 1 | Entitlement of Duty Holders | XXXXX Dental Practice |
| --- | --- | --- |

## 1. Objectives

- To outline the method for entitling individuals as duty holders under IR(ME)R

- To ensure that each duty holder has appropriate registration, qualifications, experience and training (as appropriate) for their entitlement

- To clarify who holds the training records for each duty holder

# 2.	Responsibilities

# The employer will ensure that structures are in place for entitlement of IR(ME)R duty holders, and will maintain records of agreed qualifications, experience and training required for individuals to perform the roles of duty holders for all types of dental exposures (Appendix 1).

(Named person or employer) (the Entitler) will entitle persons to act as IR(ME)R duty holders on behalf of the employer.

The Entitler will decide whether the evidence presented is sufficient for each individual to be entitled in the role of practitioner, operator, and/or referrer for dental exposures. They will maintain an up-to-date record of qualifications, training, and tasks for each entitled practitioner and operator.

(Named person, employer or Job Title) will agree the range of tasks for staff under their management, which is appropriate and supported by verifiable training and experience, and this will define the duty holder’s scope of practice. (For Dental Practices with multiple sites, it may be appropriate for the Lead Person at each site to assess their staff’s competence and then provide this information to the employer or named person for entitlement).

Each Duty Holder is responsible for maintaining their own personal training record containing their evidence of training and continuing professional development.

Practitioners and operators must comply with the employer’s procedures.

### 3.	The Process of Entitlement

Entitlement is demonstrated by the Entitler signing an individual’s competence document (Appendix 2).  Duty holders themselves must have agreed and signed this document as well. If this is the same person it will only be signed once as the Entitler. The agreed competence for each individual will create their own scope of entitlement which they must adhere to.

The competence document will evolve and be updated as an individual’s scope of entitlement changes without the need to be resigned by the Entitler.

Competence will be assessed for each practitioner and operator by an appropriately trained person.  A Competence assessor may assess their own competence.

The Medical Physics Expert (MPE) will be entitled on appointment. They should only be appointed if they are adequately trained for this specific role.

Medical Physicists/Technologists will be entitled as an operator and their training records must be provided to the employer on request.

Appendix 1

Agreed qualifications, experience and training required for individuals to perform each duty holder role

| Registrant Group | IR(ME)R Duty Holder | Qualifications/Training/Experience required |
| --- | --- | --- |
| Dentist | Referrer | Registration with GDC with additional training if requesting CBCT |
|  | Practitioner | Registration with GDC and undergraduate dental degree |
|  | Operator | Undergraduate dental degree and local equipment training |
| Dental Nurse | Operator | Diploma or certificate in Dental nursing and local equipment training |
| Medical Physics Expert | Operator | Science degree or equivalent Experience in the application of physics, within dental use of ionising radiation Clear appointment to this role |
| Medical Physicist/Technologists | Operator | Appropriate qualification |

Appendix 2

Example Tasks for entitlement as a Duty Holder under IR(ME)R at XXXXX Practice

| Name of Duty Holder | Job Title |
| --- | --- |
| Qualification(s) and date obtained |  |
| Registration Number | Date last checked |

| Referrer tasks at XXXXX Practice | Assigned as competent Date & signature/initials of duty holder |
| --- | --- |
| Refer for all dental examinations (excluding CBCT) |  |
| Refer for Cone Beam CT dental examinations |  |

| Practitioner tasks at XXXXX Practice | Assigned as competent Date & signature/initials of duty holder |
| --- | --- |
| Competent to justify requests for all dental examinations |  |
| Competent to justify requests for cone Beam CT dental examinations |  |

| Operator tasks at XXXXX Practice | In training | Assigned as competent |
| --- | --- | --- |
|  | Date & signature/initials of duty holder and assessor | Date & signature/initials of duty holder and assessor |
| Competent to carry out patient identification |  |  |
| Competent to undertake all dental examinations |  |  |
| Competent to undertake OPT/Lat Ceph exposures |  |  |
| Competent to undertake cone beam CT exposures |  |  |
| Competent to process dental films |  |  |
| Competent to process digital images |  |  |
| Competent to change chemicals in a dental processor |  |  |
| Competent to clinically evaluate all dental examinations undertaken at practice |  |  |
| Competent to clinically evaluate all dental examinations undertaken outwith the practice |  |  |
| Competent to clinically evaluate cone beam CT dental examinations |  |  |
| Competent to carry out quality assurance on equipment |  |  |
| Entitled by | Date |
| Name of Entitler | Date |
| Signature of Duty Holder (DH) | Date |
| IR(ME)R procedures read by DH | Date |

| EP 2 | Referrals for Dental examinations | XXXXX Dental Practice |
| --- | --- | --- |

# Objectives

- To outline how a referral may be made for a dental x-ray examination

# 2.	Responsibilities

The employer shall establish recommendations concerning referral criteria for dental exposures and shall ensure that these are available to the referrer. These should include an indication of the typical effective dose to the patient for each type of x-ray examination.

### 3.	The Process of Referral

A clinical assessment of every patient’s dental anatomy should be performed prior to requesting any x-ray.

#### 3.1	When the Referrer is also the Practitioner and Operator

Where the referrer also acts as the practitioner and operator for a dental exposure, he/she must ensure that the request for the x-ray is documented within the patient’s dental record/patients notes page on R4. Within this record the clinical indications for the x-ray should be clear, fit with the referral criteria and the referrer must be identifiable.

##### 3.2	Referring to another dental practice or hospital

If a referral to carry out the dental x-ray (e.g. OPG or CBCT) is made to an external site then a request card/referral form/letter must be completed legibly by the referrer in line with the external sites procedures.

The essential information required on each request card/referral form/letter is listed below.

  - Patients full name, date of birth and address

  - Dental Examination requested

  - Sufficient clinical information relevant to the dental exposure requested

  - Signature of Referrer

  - Name of Referrer (Printed)

  - Date of referral

- Patient contact telephone number (if relevant and available)

4.	Referral Criteria

The referral criteria used at this Practice is  The Faculty of General Dental Practitioners “Selection Criteria for Dental Radiography”/British Orthodontic Society’s – Orthodontic Guidelines/local referral criteria and copies of this document are made available to the referrers in each room/on the intranet/personal copy.

| EP 3 | Justification and Authorisation | XXXXX Dental Practice |
| --- | --- | --- |

## Objectives

- To ensure that every dental exposure is justified and authorised

# 2.	Responsibilities

It is the responsibility of an entitled dentist to justify each individual dental exposure taking the following into account

- the specific objectives of the exposure and the characteristics of the individual involved

- the total potential diagnostic benefits, including the direct health benefits to the individual and the benefits to society, of the exposure

- the individual detriment that the exposure may cause

- the efficacy, benefits and risk of available alternative techniques having the same objective but involving no or less exposure to ionising radiation

If the practitioner is aware, at the time of authorisation, that a recorded clinical evaluation shall not result from the exposure, then the exposure must not be authorised and cannot take place.

### 3.	The Process for Justification and Authorisation

As the dentist is acting as both entitled referrer and IR(ME)R practitioner, the referrer’s signature/ electronic personal code in the clinical notes next to the request for an x-ray will demonstrate authorisation of the exposure.

4. 	Special Attention for Justification

Special attention for justification is required for the following types of exposure

- exposures on medico-legal grounds

- exposures that have no direct benefit for the individuals undergoing the exposure

It is unlikely that special attention needs to be given to these groups during the justification of dental exposures. However they will need to be considered if these exposures are undertaken at the dental practice. If they are not carried out then delete this section

5.	Special circumstances regarding authorisation

Authorisation should be carried out in advance of any dental exposure.

However, it has been recognised that in some specific exceptional circumstances, it may not be feasible for a dentist to carry out authorisation in advance of an exposure. This may occur during treatments where it is not in the best interests of the patient for the dentist to leave them to document the authorisation in the patient’s dental record e.g. an unplanned x-ray due to a complication mid-procedure.

Should this situation arise then the Dentist justifying the exposure should be present in the room whilst the x-ray is carried out and authorisation of the exposure must occur as soon as possible within the same episode of care.

This deviation from normal procedure should be documented within the patient’s dental record by the dentist.

| EP 4 | Patient Identification | XXXXX Dental Practice |
| --- | --- | --- |

## Objectives

- To ensure that each authorised dental exposure is delivered by the entitled operator to the intended patient

# 2.	Responsibilities

The operator who undertakes the exposure is responsible for ensuring that the correct patient receives the correct examination.

### 3.	The Process for Patient Identification

A clinical assessment of every patient’s dental anatomy should be performed prior to undertaking any x-ray. The operator undertaking the exposure can then be confident that the correct patient is receiving the correct x-ray examination.

To ensure that the dental records are accurate, every patient’s identity must be confirmed when the patient enters the dental room, prior to the dental assessment starting. If an operator, other than the dentist, e.g. dental nurse, carries out this identification there should be a verbal handover confirming ID to the dentist prior to the clinical examination starting.

Where possible, the operator must ask the patient to give the 3 identifiers. The procedure must be positive and active i.e.

“What is your name?”

“What is your address?”

“What is your date of birth?”

These details should be checked against the patients’ dental records. For follow up patients, the patient’s dental chart would also be available which can be compared to a visual examination of the patient’s teeth. This can act as an additional check to ensure that the person being examined is the correct patient.

If the patient is deaf these questions can be asked using written cards.

If the patient through illness, physical or mental disability, or language barrier is not able to confirm

his/her identity:

- Always treat them with dignity and respect

- A carer or relative may be asked to identify the patient if they are escorted

- Examine any personal photographic identification they may have such as a passport or photocard driving licence

- For patients with language difficulties, the operator may identify the patient through an interpreter if one is available

When the patient is unable to identify themselves, the method used to confirm patient identity should be recorded in the patient’s dental record/on the referral.

4. 	 Differences between patient identifiers

If one aspect of the patient identifiers does not correspond between the patients record and the information obtained, but the operator is sure it is the correct patient, e.g. one digit different in date of birth or different address (old address), then the operator may use their professional judgement and the details may be changed. Clerical staff should be informed of the change to allow this to be changed on the patient’s dental record.

| EP 5 | Pregnancy Enquiries | XXXXX Dental Practice |
| --- | --- | --- |

## Objectives

- To outline the requirements for pregnancy enquiries prior to a dental exposure

### 2.	Scope

Within XXXXX Dental Practice, we currently do not undertake any radiographic examinations where the foetus will be exposed to the primary beam of radiation.

Dental x-ray imaging is by general professional consensus not damaging to a developing foetus. Consequently no formal pregnancy enquiries are required under IR(ME)R.

If a pregnant patient is particularly concerned about the potential for the x-ray to damage her unborn child, and is not reassured by the dentist, counsellor or radiation protection advisor, then the dentist may delay the x-ray if it is in the best interests of the patient.

This decision should be documented with the patient’s dental record.

| EP 6 | Assessment of Patient Dose | XXXXX Dental Practice |
| --- | --- | --- |

## Objectives

- To enable assessment of patient dose for any dental exposure to be undertaken by accurately recording such exposures to ionising radiation

# 2.	Responsibilities

The operator undertaking the exposure must ensure that data required to assess patient dose is recorded, as outlined below.

The employer will implement a programme for carrying out patient dose surveys and will consult with the Medical Physics Expert (MPE).

### 3.	The process for recording factors relevant to dose

### All operators initiating a dental exposure should adhere to the standard settings as laid out in the dental practices exposure charts, unless further optimisation is possible or necessary. Only if these standard settings are deviated from is it necessary that the actual settings used be individually recorded.

### These, along with the total number of exposures must be recorded in the patient’s notes/ within the radiographic image quality log/ electronic record. This will include the reason for carrying our any repeat exposures. In addition the reasons for significantly exceeding any DRLs should be recorded (see EP7)

### When available, the operator must also record within the patient’s dental record/radiographic log/electronic record the following details

- Dose Area Product (DAP) value

- Dose Width Product (DWP) value

- Other dose indicator e.g. exposure or sensitivity index for digital images

The operator undertaking the exposure will be aware of the range of doses or DRLs that result from the exposure factors set within the protocols.

| EP 7 | Diagnostic Reference Levels | XXXXX Dental Practice |
| --- | --- | --- |

## Objectives

- To ensure that diagnostic reference levels (DRLs) for the common dental exposures performed are in place

- To ensure that there is an assessment of compliance with these DRLs

- To ensure that where it is known that DRLs are consistently exceeded a review and corrective action shall be taken

# 2.	Responsibilities

#### The employer is responsible for establishing diagnostic reference levels and undertaking appropriate reviews whenever DRLs are consistently exceeded and for ensuring that corrective action is taken where appropriate.

The operator undertaking the exposure must ensure that data to assess patient dose is recorded, in line with EP6.

The medical physics expert (MPE), as laid out within their contract, may use dose survey results to create and review local DRLs having regard for any available national or European DRLs every 3 years.

When a DRL is consistently exceeded, the MPE should be involved in the review as deemed appropriate by the employer/named person.

### 3.	The Process of establishing DRLs

DRLs provide standard values of dose that are derived from a dose audit. They are set in terms of measurable dose-related quantities such as patient entrance dose (PED) or dose area product (DAP) values for typical examinations of average size patients.

- The DRLs will be prepared by the Medical Physics Expert, as laid out within their contract/based on recent national dose surveys  and will be subject to an audit every 3 years

- Current DRLs will be made available by the relevant x-ray machine/in the Radiation Protection File

- Once set these DRLs are not expected to be exceeded when good and normal practice regarding diagnostic and technical performance is applied.

#### 4.	Using DRLs

#### The operator undertaking the exposure, when possible, must ensure that after each exposure any dose information is considered in relation to the DRL.

#### 4.1	Dose information available

#### If following each exposure, the dental x-ray machine provides a DAP value or some other dose indicator this should be reviewed by the operator with regard to the appropriate DRL. This dose value will be recorded in the patient’s dental record or electronic record in line with EP6.

#### If the DRL is exceeded it should be recorded along with any extenuating circumstances in designated book or electronic record. If the DRL is found to be consistently exceeded the reasons must be investigated immediately.  The operator must inform (the employer/line Manager/RPS/MPE) as soon as they are aware that the DRL is being consistently exceeded.

4.2	No dose value available

#### If following each exposure, the dental x-ray machine does not provide a DAP value or other dose indicator, it is not possible to consider the dose with regard to the DRL. However there are some reassurances that the intended dose has been given depending on the image acquisition method.

- CR or DR images

The resultant image includes a Sensitivity/Exposure Index or graph. This will be compared the manufacturers recommendations. If the value/graph is unexpectedly outside the recommended range then the RPS/lead dentist will be informed and further tests may be made.

- Film

The amount of radiation reaching the film may be assessed by evaluating the image quality. If the chemistry is known to be correct and the film is too dark, then it may be that too much radiation is being emitted and therefore the DRL may be exceeded. The RPS/lead dentist will be informed and further tests may be made if necessary.

### 5.	Reviewing DRLs that are consistently exceeded

#### The MPE, RPS or operator must inform the employer as soon as they are aware that the DRL is being consistently exceeded.

If the DRL is believed to be consistently exceeded (either as identified by the MPE, operator or RPS) the reasons must be investigated immediately by the employer/named person/MPE so that corrective action may be taken.

Any corrective action should be documented and communicated to relevant staff.

| EP 8 | Clinical Evaluation | XXXXX Dental Practice |
| --- | --- | --- |

## Objectives

- To ensure every dental exposure undertaken within XXXXX Dental Practice has a recorded clinical evaluation

# 2.	Responsibilities

A dentist, as an entitled operator, is responsible for ensuring that a clinical evaluation is recorded in the patient’s dental record/electronic record/notes page of R4.

### 3.	The Process of recording a clinical evaluation

Following a dental exposure each image must be clinically evaluated by the dentist and the findings documented in the patient’s dental record or electronic record.

This evaluation of the whole image shall include:

- The identity, either signature or initials of the operator undertaking the evaluation

- The details of all findings including

  - Charting of caries

  - Findings relevant to the patients management or prognosis

  - In the case of a pre-extraction radiograph, it may be sufficient to record either ‘root form simple’ or ‘nothing abnormal diagnosed’

| EP 9 | Training and Education | XXXXX Dental Practice |
| --- | --- | --- |

## Objectives

- To ensure all entitled practitioners and operators have received adequate training for the duties they are entitled for, and that records of such training are maintained and reviewed

- To ensure that entitled practitioners and operators undertake continuing professional education and training after qualification including, in the case of clinical use of new techniques, training related to these techniques and the relevant radiation protection requirements

# Responsibilities

The employer will ensure that arrangements are in place to maintain an up to date list of qualifications and duties for each duty holder (see EP1 Appendix 2).

The employer is responsible for ensuring that the training records are reviewed on an annual basis and that this review is used to inform a duty holder’s scope of entitlement.

Practitioners and operators shall satisfy themselves that they have appropriate training and experience to undertake duties that they are entitled to perform, and shall maintain a personal portfolio of their education, training, experience and competence. They must not carry out any duty for which they have not been trained and entitled.

### 3.	Process

The basic requirements for entitlement as a duty holder are listed in EP1 Appendix 1

Each duty holder’s personal portfolio should demonstrate the nature of any training and the date on which training was completed. For registration with the GDC, verifiable radiation protection training is required, currently 5 hours in any 5 year period.

Annual appraisals will include checks of ongoing relevant professional education are undertaken for each duty holder by the duty holder’s line manager. Each duty holder should provide their own personal training records for this appraisal to ensure that a maintained competence for each duty holder role can be demonstrated.

## (Named person, employer or Job role) must check the registration for all referrers and practitioners on an annual basis. A record of such registration and the date checked is held within the individual’s competence document.

On induction and with the implementation of any new radiation equipment or equipment software, there must be associated training which must be documented within the duty holder’s training record. Their scope of practice should be reassessed by a competence assessor.

4. 	 Third party training records

Where the employer enters into a contract with another to engage a practitioner or operator (e.g. agency staff or MPE, the latter (e.g. the MPE) shall be responsible for keeping their records and shall supply such records to the employer upon request.

5. 	Students/Trainees

An operator or practitioner who is assigned as ‘In Training’ for any particular competence may undertake any aspect of that function, as part of practical training, provided if this is done under the supervision of a person who is themselves adequately trained and entitled for that duty.

This is expected to be ‘direct’ supervision and the supervisor shall take responsibility for the activity as if they had carried it out themselves.

| EP 10 | Incident Reporting | XXXXX Dental Practice |
| --- | --- | --- |

## Objectives

- To ensure that incidents and near misses involving patient overexposures are properly investigated and recorded

- To ensure that reportable radiation incidents are reported to the appropriate statutory authority promptly

- Responsibilities

The individual that identifies an error is responsible for recording all available data concerning the incident or near miss and for informing the employer/RPS within one working day.

Named person e.g. RPS or employer is responsible for carrying out and documenting an investigation of the incident and when necessary, liaising with the Radiation Protection Adviser (RPA) or Medical Physics Expert (MPE) regarding the patient dose. This should be done as soon as possible.

The MPE or RPA is responsible for making an assessment of the dose to the patient and for advising the employer on whether an incident needs to be reported to the relevant statutory authority or if any other steps need to be taken.

(Named person or employer) will inform the statutory authorities of any reportable incidents within 3 weeks of the incident occurring.

The dentist must decide on whether to inform the patient or not. This must be documented in the patient’s dental records. The patient should be informed unless it is deemed not to be in their best interests. If the patient is not informed of the incident, the reasons why should also be documented.

### 3.	Internal reporting

If it is suspected that an unintended patient exposure, overexposure or near miss has occurred, the duty holder shall record on an incident form/other method of recording and provide it to the employer/RPS:

- The age and demographic details of the patient

- The x-ray machine settings, the kV and mAs and dose area product (DAP)  (if known)

- Any other relevant information e.g. error codes, time for which the exposure appeared to continue, or unusual signals

- What happened and why

- Any other relevant information

If it is suspected that the incident is due to an equipment malfunction, the equipment must be withdrawn from use and other staff notified. Warning signs should be placed on the faulty equipment. The equipment must not be reused until the reason for the incident has been clarified. Call the equipment service engineer or RPA for assistance if necessary.

4. 	Investigation

Named person or the employer shall assemble evidence to determine what events lead to the near miss or incident and to allow the dose to be calculated in consultation with the MPE or RPA. The report from this investigation shall include details of what happened and why, the dose assessment, whether the patient has been informed, what actions have been taken to minimise the risk of a similar incident occurring in the future and any other recommendations.

If advised that the incident is reportable by the MPE or RPA, the (Named person or employer or MPE/RPA) will inform the Scottish Ministers.

Regulations require that incidents involving a exposure of a patient to a radiation dose ‘much greater than intended‘ are reported to the Health and Safety Executive (HSE) if they are due to an equipment fault (IRR99) or the Scottish Ministers if they result from an error or procedural failure (IR(ME)R). For medical exposures in dentistry; see the HSE and DH website or consult your RPA or MPE, for information on what constitutes much greater than intended.

5.	Records and learning

(Named person or employer) shall place copies of the incident report in the Radiation Protection file and the patient’s dental/electronic records. This report shall be retained for at least 2 years if it was not much greater than intended. If the incident was reportable to the Scottish Ministers a record must be kept for at least xx years. For incidents reported to HSE a record must be kept for at least 50 years.

Any lessons arising or changes to practice following the investigation will be implemented to ensure that the risk is minimised in the future. Relevant staff will be informed of all incidents, any lessons arising from the investigation and any changes to practice by e-mail, staff meeting or handover book.

Incident reporting flowchart

| EP 11 | Reducing the Probability and Magnitude of unintentional exposures | XXXXX Dental Practice |
| --- | --- | --- |

## Objectives

- To ensure that the probability and magnitude of unintentional exposures is kept as low as  reasonably practicable

- Responsibilities

The employer will ensure that an equipment inventory is kept on all radiation equipment and that the equipment is maintained in accordance with manufacturer’s instructions.

All duty holders shall comply with the employer’s procedures.

Practitioners and operators shall ensure that the doses arising from an exposure are kept as low as reasonably practicable consistent with the intended purpose.

### 3.	Process

The XXXXX Dental Practice will reduce the risk of unintended exposures by adopting the following

- Employers procedures and protocols will be in place and regularly reviewed to ensure they match local practice

- All equipment will regularly undergo quality assurance to ensure it is functioning correctly

- Additional equipment QA checks carried out if over 10% of images are deemed unacceptable

- Feedback will be given to Dental professionals following any incident

- Training and competence assessments will be undertaken including when new equipment and procedures are introduced

- Induction programmes for new staff

- Grading and review of quality of dental images

- Clinical audit

- Audit of procedures

- Good practice and technique applied

- Investigation of near miss incidents

- Peer review of images – looking at image quality to include positioning, collimation, density, sharpness and exposure

| EP 12 | Document Quality Assurance | XXXXX Dental Practice |
| --- | --- | --- |

## Objectives

- To ensure appropriate document control for all IR(ME)R documents

- Responsibilities

The employer will ensure that the Employer’s Written Procedures and  written protocols are reviewed every 2 years or sooner if practice changes or new equipment is installed. These will have unique numbers, for example Employer’s Written Procedures EP1 etc, and for written protocols PRO1 etc.

If a procedure or protocol changes it is the responsibility of the Authoriser to inform all relevant staff.

The author of a document is responsible for the content whilst the Authoriser is responsible for ensuring the document is in place.

### 3.	Document control

Each document shall be uniquely identified.

3.1	Employer’s procedures will display the following front page

| XXXXX Dental Practice Employers Procedures Written Procedures for Medical Exposures |
| --- |
| Author |  |
| Version Number |  |
| Authorised by |  |
| Issue Date |  |
| Reviewer |  |
| Review Date |  |

Each individual procedure will display a header e.g.

| EP 1 | Entitlement of Duty Holders | XXXXX Dental Practice |
| --- | --- | --- |

Each individual procedure will also display a footer of

IR(ME)R Employers procedures                        	Version 1                               	 Page 2 of 22

3.2 	Written protocols and other IR(ME)R documents

These will display a header and footer, examples given below.

Header

| PRO1 | Protocols for dental x-rays | XXXXX Dental Practice |
| --- | --- | --- |

Footer

| Issue Date: | Version No. | Authorised by | Author | Review date: | Page 2 of 4 |
| --- | --- | --- | --- | --- | --- |

  - Document holding and control

All Employer’s Written Procedures and written protocols shall be held on the practice intranet, and shall be available to all practice staff.  These electronic documents shall be watermarked ’Uncontrolled when printed’ to indicate that these are the only the only controlled versions of these documents.

All duty holders must comply fully with Employer’s Written Procedures, and appropriately with written protocols (allowing appropriate latitude for professional judgement), so each employee is responsible for ensuring that they are working to the current version of these procedures and protocols (which may be printed for convenience).

| EP 13 | Audit | XXXXX Dental Practice |
| --- | --- | --- |

## Objectives

- To ensure that clinical audit is undertaken

- To ensure that the content of the written procedures are audited to ensure compliance by the duty holders

- Responsibilities

The employer will ensure that annual audit is undertaken with a consistent approach and that the outcome of all audits will be fed back to relevant staff.

### 3.	Process

The employer will ensure that an audit program is in place to outline the methods to be used to carry out each audit. The audit program will describe the person responsible for carrying out each of the audits, the standards, criteria, timescales and details of the audit process.

The audit programs can be found in the audit file/electronic folder.

The following audits shall be undertaken at XXXXX Dental Practice (amend as appropriate):

- Assurance that all procedures and protocols are within date and will be reviewed by the review date

- An audit of duty holders’ entitlement along with their supporting qualifications and training. This audit should ensure that their entitlement matches the duties performed and that it is supported with evidence of training and continuing professional development

- An audit of referrals and their reports to ensure that each referral has been documented in line with EP2 and that a clinical evaluation has been carried out in line with EP8. This will ensure that the referrer, practitioner and operator for each exposure can be identified

- An audit of patient dose should be undertaken 3 yearly by the MPE.

- An overview of all near miss and incident reported in the last 12 months including outcomes

- Review of image quality and any repeat exposures

- An audit to ensure that research exposures have been taken in line with EP14

- An audit to ensure that medico-legal exposures have been taken in line with EP15

| EP 14 | Research Exposures | XXXXX Dental Practice |
| --- | --- | --- |

## Objectives

No research exposures are currently undertaken at XXXX Dental Practice

- To ensure that all research undertaken restricts any dose of ionising radiation to the minimum required to achieve the intended clinical result and that each study complies with regulatory requirements

# 2.	Responsibilities

The employer must ensure that all research has received approval from an ethics committee

The employer must determine that there is sufficient net benefit to allow research exposures to go ahead, and ensure that every request is authorised and a clinical evaluation performed.

The referrer must indicate in the patient’s dental record that the request is for a research examination.

The Medical Physics Expert will be involved with the dose and risk assessment, as agreed within their contract, and will identify

- a dose constraint when no direct medical benefit is expected to the individual from the exposure or

- an individual target level of dose for patients which are expected to receive a diagnostic or therapeutic benefit from the exposure

### 3.	Process

The employer will ensure that systems are in place to inform any practitioner and operator who might be involved in an exposure, that patients may be part of a research study when they are referred for imaging. This will be communicated by e-mail/staff meeting/ handover book.

It is the responsibility of the individual practitioner for a research study to ensure that every request is justified. Special attention is required for the justification of exposures that have no direct benefit for the individuals undergoing the exposure.

A protocol for each research project will be written by the research practitioner and be made available to all operators in the research folder/ electronically.

The Practitioner shall ensure that operators are aware that a request is part of a research study.

- Operators must follow the research protocol specifically developed for the research study

- Operators must report to named person/their line manager any instances where exposures are being made for research purposes where this has not been clearly indicated on the request or if they suspect that the study has not been approved

- The clinical evaluation must be performed by an appropriately entitled operator, and reported through appropriate communication arrangements

### 3.	Patient consent

All potential participants must receive a written explanation of the research programme and its risks and have the opportunity to discuss these with a responsible person before agreeing to take part. The explanation must make clear that treatment will not be prejudiced by failure to take part.

All individuals taking part in a research programme do so voluntarily. Each participant will sign a statement indicating that the whole procedure has been properly explained, that they voluntarily undertake the procedure and are aware of the risks including those from the radiation exposure.

| EP 15 | Medico-Legal and Occupational Health Exposures | XXXXX Dental Practice |
| --- | --- | --- |

## Objectives

No medico-legal or occupational health exposures are undertaken at XXXX Dental Practice

- To ensure that all medico-legal and occupational health surveillance exposures undertaken restrict any dose of ionising radiation to the minimum required to achieve the intended result and that special attention is given to the justification and optimisation of these exposures

# 2.	Responsibilities

The referrer must indicate within the dental records that the request is for a medico-legal or occupational exposure.

The practitioner will pay special attention to the justification of medico-legal exposures.

The practitioner and operator must ensure that these exposures are fully optimised.

### 3.	Process

Medico-legal referrals are those examinations performed for insurance or legal purposes of any kind without a medical indication, for example:

- Assessment of accidental injury for legal or insurance purposes

- Assessment of non-accidental injury

- Identification of drugs or other evidence that may be concealed within a dental cavity

Please delete or add any other types of medico-legal exposure here

Referrals for medico-legal examinations must be clearly identified and must be justified by a dentist.

No person shall carry out a medico-legal exposure unless it complies with the employers procedure for such exposures

An occupational heath surveillance exposure means medical surveillance for workers.

- Dental  x-rays prior to working on an oil rig where there are no dental provisions although the patient may be asymptomatic at the time for the purposes of work

- Dental x-rays for military personnel/flight crew for the purpose of employment

- Dental x-rays for deep sea divers

Please delete or add any other types of occupational health surveillance exposure here

The dental radiographic history of each patient attending for medico-legal or occupational heath surveillance examinations should be checked by the dentist and recent similar examinations should be taken into account. For instance it may not be necessary to complete a whole series of x-rays if some have been taken recently.